## global-attributes
Name | Example
Conventions | CF-1.6
source | ace-flux-1: uSonic-3 Sonic Anemometer and LI-7500 open path gas analyser
instrument_manufacturer | Sonic - Metek, Gas analyser - LI-COR
instrument_model | uSonic-3, LI-7500
instrument_serial_number | sonic - 0111117433, Gas analyser - 75H-0800
instrument_software | N/a
instrument_software_version | uSonic-3: 4.65c
creator_name | Heather Guy
creator_email | heather.guy@ncas.ac.uk
creator_url | https://orcid.org/0000-0003-3525-0766
institution | University of Leeds
processing_software_url | https://github.com/heatherguy/ace-ceda-master
processing_software_version | v1
calibration_sensitivity | As per manufacturers specifications
calibration_certification_date | uSonic-3: 2019-12-03
calibration_certification_url | uSonic-3: https://github.com/heatherguy/ace-ceda-master/blob/master/calibration_certificates/20191204_0111117433_factory_certificate.pdf
sampling_interval | 15 minutes
averaging_interval | 15 minutes
product_version | v1.0
processing_level | 3
last_revised_date
project | ICECAPS-ACE
project_principal_investigator | Dr RR Neely
project_principal_investigator_email | ryan.neely@ncas.ac.uk
project_principal_investigator_url | https://orcid.org/0000-0003-4560-4812
licence | Data usage licence - UK Government Open Licence agreement: http://www.nationalarchives.gov.uk/doc/open-government-licence
acknowledgement | Acknowledgement of the following grants is required: NSFGE Grant Award number: 1801318, NERC Grant Award number NE/S00906X/1
platform | Summit Station
platform_type | stationary_platform
deployment_mode | land
title | Flux components and statistical quality checks from Summit Station, Greenland.
featureType | timeSeries
time_coverage_start
time_coverage_end
geospatial_bounds | 72.572962N -38.470361E
platform_altitude | 3267 m
location_keywords | Summit, Greenland, Greenland Ice Sheet
history | Data collection start: 2019-06-01T00:00:00.
comment | 10 Hz sampling rate on both licor and sonic. Runs 15 mins in length. Run time stamp: start of run.