## global-attributes
Name | Example
Conventions | CF-1.6, NCAS-AMF-1.0
source | CPC (Condensation particle counter)
instrument_manufacturer | GRIMM
instrument_model | CPC 5.400
instrument_serial_number | 54300308
instrument_software | N/a
instrument_software_version | N/a
creator_name | Heather Guy
creator_email | heather.guy@ncas.ac.uk
creator_url | https://orcid.org/0000-0003-3525-0766
institution | University of Leeds
processing_software_url | https://github.com/heatherguy/ace-ceda-master
processing_software_version | v1
calibration_sensitivity | As per manufacturers specifications
calibration_certification_date | N/a
calibration_certification_url | N/a
sampling_interval | 1 minute
averaging_interval | 1 minute
product_version | v1.0
processing_level | 1
last_revised_date
project | ICECAPS-ACE
project_principal_investigator | Dr RR Neely
project_principal_investigator_email | ryan.neely@ncas.ac.uk
project_principal_investigator_url | https://orcid.org/0000-0003-4560-4812
licence | Data usage licence - UK Government Open Licence agreement: http://www.nationalarchives.gov.uk/doc/open-government-licence
acknowledgement | Acknowledgement of the following grants is required: NSFGE Grant Award number: 1801318, NERC Grant Award number NE/S00906X/1
platform | Summit Station
platform_type | stationary_platform
deployment_mode | land
title | Point measurement of total aerosol number concentration (>5nm, see comment) at Summit Station, Greenland.
featureType | timeSeries
time_coverage_start
time_coverage_end
geospatial_bounds | 72.578590N -38.452693E
platform_altitude | 3267 m
location_keywords | Summit, Greenland, Greenland Ice Sheet
amf_vocabularies_release | https://github.com/ncasuk/AMF_CVs/releases/tag/0.5.0
history | Data collection start: 2019-02-11T00:00:00. 2019-12-26T09:09 - v1 processed & QC'd
comment | Inlet losses are < 15% for particle sizes 0.08 to 1 μm diameter. Inlet losses are > 50 % for particles smaller than 0.02 μm and larger than 2.2 μm diameter. Contact PI for further information on inlet loss.