## global-attributes
Name | Example
Conventions | CF-1.6
source | ace-tower: T/RH sensors 1-4
instrument_manufacturer | Vaisala
instrument_model | HMP155
instrument_serial_number | HMP1: available on request, HMP2: P5020423, HMP3: available on request, HMP4: available on request
instrument_software | N/a
instrument_software_version | N/a
creator_name | Heather Guy
creator_email | heather.guy@ncas.ac.uk
creator_url | https://orcid.org/0000-0003-3525-0766
institution | University of Leeds
processing_software_url | https://github.com/heatherguy/ace-ceda-master
processing_software_version | v1
calibration_sensitivity | As per manufacturers specifications
calibration_certification_date | 2018-12-12
calibration_certification_url | https://github.com/heatherguy/ace-ceda-master/blob/master/calibration_certificates/SO5520007763_HMP155_Calibration_Certificates.pdf
sampling_interval | 1 minute
averaging_interval | 1 minute
product_version | v1.0
processing_level | 1
last_revised_date
project | ICECAPS-ACE
project_principal_investigator | Dr RR Neely
project_principal_investigator_email | ryan.neely@ncas.ac.uk
project_principal_investigator_url | https://orcid.org/0000-0003-4560-4812
licence | Data usage licence - UK Government Open Licence agreement: http://www.nationalarchives.gov.uk/doc/open-government-licence
acknowledgement | Acknowledgement of the following grants is required: NSFGE Grant Award number: 1801318, NERC Grant Award number NE/S00906X/1
platform | Summit Station
platform_type | stationary_platform
deployment_mode | land
title | Point measurements of temperature/ humidity from HMP155 sensors at four levels on the Summit Station met tower.
featureType | timeSeries
time_coverage_start
time_coverage_end
geospatial_bounds | 72.572962N -38.470361E
platform_altitude | 3267 m
location_keywords | Summit, Greenland, Greenland Ice Sheet
history | Data collection start: 2019-06-01T00:00:00
comment | Platform height (h0) is the top of the Met tower. Instrument height: HMP1=h0-12.3m, HMP2=h0-9.8m, HMP3=h0-4.5m, HMP4=h0-1m , Index: [HMP1, HMP2, HMP3, HMP4]