## global-attributes
Name | Example
Conventions | CF-1.6
source | KT15 Infrared Temperature sensor
instrument_manufacturer | Heitronics
instrument_model | KT15.85 IIP
instrument_serial_number | 13030
instrument_software | N/a
instrument_software_version | Firmware 5.11
creator_name | Heather Guy
creator_email | heather.guy@ncas.ac.uk
creator_url | https://orcid.org/0000-0003-3525-0766
institution | University of Leeds
processing_software_url | https://github.com/heatherguy/ace-ceda-master
processing_software_version | v1
calibration_sensitivity | As per manufacturers specifications
calibration_certification_date | N/a
calibration_certification_url | N/a
sampling_interval | 1 minute
averaging_interval | 1 minute
product_version | v1.0
processing_level | 1
last_revised_date
project | ICECAPS-ACE
project_principal_investigator | Dr RR Neely
project_principal_investigator_email | ryan.neely@ncas.ac.uk
project_principal_investigator_url | https://orcid.org/0000-0003-4560-4812
licence | Data usage licence - UK Government Open Licence agreement: http://www.nationalarchives.gov.uk/doc/open-government-licence
acknowledgement | Acknowledgement of the following grants is required: NSFGE Grant Award number: 1801318, NERC Grant Award number NE/S00906X/1
platform | Summit Station
platform_type | stationary_platform
deployment_mode | land
title | Point measurements of snow surface brightness temperature at Summit Station, Greenland (9.6 to 11.5um spectral range)
featureType | timeSeries
time_coverage_start
time_coverage_end
geospatial_bounds | 72.572962N -38.470361E
platform_altitude | 3267 m
location_keywords | Summit, Greenland, Greenland Ice Sheet
history | Data collection start: 2019-06-01T00:00:00
comment | Platform height is the top of the Met tower, sensor height is plaform height minus 10.8 m. Technician log used to QC data is located here: https://github.com/heatherguy/ace-ceda-master/blob/master/qc-files/KT_bad_dates. Spectral range of sensor is 9.6 to 11.5 um.