## global-attributes
Name | Example
Conventions | CF-1.6
source | ACE-flux-1: uSonic-3 Sonic Anemometer and LI-7500 open path gas analyser
instrument_manufacturer | Sonic - Metek, Gas analyser - LI-COR
instrument_model | uSonic-3, LI-7500
instrument_serial_number | sonic - 0111117433, Gas analysis - 75H-0800
instrument_software | N/a
instrument_software_version | uSonic-3: 4.65c
creator_name | Heather Guy
creator_email | heather.guy@ncas.ac.uk
creator_url | https://orcid.org/0000-0003-3525-0766
institution | University of Leeds
processing_software_url | https://github.com/heatherguy/ace-ceda-master
processing_software_version | v1
calibration_sensitivity | As per manufacturers specifications
calibration_certification_date | uSonic-3: 2019-12-03
calibration_certification_url | uSonic-3: https://github.com/heatherguy/ace-ceda-master/blob/master/calibration_certificates/20191204_0111117433_factory_certificate.pdf
sampling_interval | 30 minutes
averaging_interval | 30 minutes
product_version | v1.0
processing_level | 3
last_revised_date
project | ICECAPS-ACE
project_principal_investigator | Dr RR Neely
project_principal_investigator_email | ryan.neely@ncas.ac.uk
project_principal_investigator_url | https://orcid.org/0000-0003-4560-4812
licence | Data usage licence - UK Government Open Licence agreement: http://www.nationalarchives.gov.uk/doc/open-government-licence
acknowledgement | Acknowledgement of the following grants is required: NSFGE Grant Award number: 1801318, NERC Grant Award number NE/S00906X/1
platform | Summit Station
platform_type | stationary_platform
deployment_mode | land
title | Flux components and statistical quality checks from Summit Station, Greenland.
featureType | timeSeries
time_coverage_start
time_coverage_end
geospatial_bounds | 72.572962N -38.470361E
platform_altitude | 3267 m
location_keywords | Summit, Greenland, Greenland Ice Sheet
history | Data collection start: 2019-06-01T00:00:00. Instruments raised by ~ 1 m on 01 July 2021 (see comment for heights)
comment | Platform height is the top of the Met tower, sensor height is plaform height minus 9.8 m. 10 Hz sampling rate on both licor and sonic. Runs 15 mins in length. Run time stamp: start of run.