## global-attributes
Name | Example
Conventions | CF-1.6, NCAS-AMF-1.0
source | POPS, Portable Optical Particle Spectrometer
instrument_manufacturer | Handix Scientific
instrument_model | POPS-1120
instrument_serial_number | 0288
instrument_software | POPS data acquisition software
instrument_software_version | Revision 6.4
creator_name | Heather Guy
creator_email | heather.guy@ncas.ac.uk
creator_url | https://orcid.org/0000-0003-3525-0766
institution | University of Leeds
processing_software_url | https://github.com/heatherguy/ace-ceda-master
processing_software_version | v1
calibration_sensitivity | See calibration certificate
calibration_certification_date | 03 May 2022
calibration_certification_url | https://github.com/heatherguy/ace-ceda-master/blob/master/calibration_certificates/SN_0288_POPS_Final_Report.docx
sampling_interval | 1 second
averaging_interval | 1 minute
product_version | v1.0
processing_level | 1
last_revised_date
project | ICECAPS-MELT
project_principal_investigator | Dr RR Neely
project_principal_investigator_email | ryan.neely@ncas.ac.uk
project_principal_investigator_url | https://orcid.org/0000-0003-4560-4812
licence | Data usage licence - UK Government Open Licence agreement: http://www.nationalarchives.gov.uk/doc/open-government-licence
acknowledgement | Acknowledgement of the following grants is required: NSFGEO-NERC Grant Award number: 2137083
platform | Summit Station
platform_type | stationary_platform
deployment_mode | land
title | Point measurements of aerosol particle size distribution at Summit Station, Greenland
featureType | timeSeries
time_coverage_start
time_coverage_end
geospatial_bounds | 72.573730N -38.470528E
platform_altitude | 3267 m
location_keywords | Summit, Greenland, Greenland Ice Sheet
amf_vocabularies_release | https://github.com/ncasuk/AMF_CVs/releases/tag/0.5.0
history | Data collection start: 2022-08-21T00:00:00
comment | Raw signal data available upon request.